ANNEXURE – ‘A’

| Sr. No. | Name of items | Qty. | Remarks |
| --- | --- | --- | --- |
| 01. | Function Generator: 0.1 to 1MHz | 10 |  |
| 02. | Digital Bread Board Trainer: 5V fixed, +12V Variable | 25 |  |
| 03. | Multi Power supplies | 20 |  |
| 04 | Digital Multimeter: 1000V, 10A, AC, DC | 50 |  |
| 05. | Universal microcontroller board | 15 |  |
| 06. | Project oriented board | 10 |  |
| 07. | RPM Body Impedance measurement | 02 |  |
| 08. | Advance Analog trainer kit | 04 |  |
| 09. | Soldering/de-soldering station | 12 |  |
| 10. | Signal generator | 15 |  |
| 11. | Digital ph meter with electrode | 02 |  |
| 12. | Decade Capacitance box | 03 |  |
| 13. | Decade Inductance box | 03 |  |
| 14. | Decade resistance box | 06 |  |
| 15. | Decade Resistance Box: 10, 100, 1000 Ω | 01each |  |
| 16. | Decade Resistance Box (Variable): 10, 100, 500, 1000Ω | 01each |  |
| 17. | Conductivity meter | 02 |  |
| 18. | Wheatstone Bridge | 02 |  |
| 19. | DC Power Supply (0-100V, 3Amp) | 12 |  |
| 20. | Ammeter: 0 – 1/2A AC 0 – 2.5/5A AC 0 – 1/2 A DC Ammeter (µA) AC/DC 0-500 µA Ammeter AC/DC 0 – 1/2A Ammeter: 0 – 1/2 A AC 0 – 2.5/5A AC 0 – 1/2A DC Ammeter (µA) AC/DC 0-500 µA Ammeter AC/DC 0 – 1/2 A Ammeter µA (AC/DC) 0-500 µA | 05 |  |
| 21. |  | 05 |  |
| 22. |  | 05 |  |
| 23. |  | 02 |  |
| 24. |  | 05 |  |
| 25. |  | 05 |  |
| 26. |  | 05 |  |
| 27. |  | 05 |  |
| 28. |  | 02 |  |
| 29. |  | 05 |  |
| 30. |  | 02 |  |
| 31. | Ammeter – 0-1A DC Ammeter – 0-1A AC Ammeter µA (AC/DC) 0-250/500 µA Ammeter : 0 - ½ A(AC&DC) 0-5/10(AC&DC) | 05 |  |
| 32. |  | 05 |  |
| 33. |  | 05 |  |
| 34. |  | 10 10 |  |
| 35. | Voltmeter : DC 0-50/100V DC/AC 0-150/300V AC 0-50/100V Voltmeter : DC 0-50/100V DC/AC 0-150/300V AC 0-50/100V Voltmeter – 0-1V DC Voltmeter – 0-1V AC Voltmeter: 0-25/50V(AC&DC) 0-50/100V(AC&DC) 0-150/300V(AC&DC) | 05 |  |
| 36. |  | 20 |  |
| 37. |  | 05 |  |
| 38. |  | 05 |  |
| 39. |  | 20 |  |
| 40. |  | 05 |  |
| 41. |  | 05 |  |
| 42. |  | 05 |  |
| 43. |  | 05 05 15 |  |
| 44. | T/F Two Wdg 1KVA, 230/115V | 08 |  |
| 45. | Electronic Energy Meter (0-40A) | 06 |  |
| 46. | Variac 0-270V, 10Amp | 12 |  |
| 47. | Plier 8” (Taparia) | 22 |  |
| 48. | Plier 6” (Taparia) | 12 |  |
| 49. | Insulation Cutter & Remover | 20 |  |
| 50. | Insulation Remover | 10 |  |
| 51. | Screw Driver Kit | 40 |  |
| 52. | Rheostat : 110Ω, 8A 110Ω, 3A 150Ω, 3A 50Ω, 4A Rheostat : 110Ω, 8A 110Ω, 3A 150Ω, 3A 50Ω, 4A Rheostat : 110Ω, 8A 110Ω, 3A 150Ω, 3A 50Ω, 4A Rheostat : (a) 110Ω - 2A (b) 150Ω - 3A (C) 400Ω - 8A (d) 50Ω - 2A (e) 110Ω - 8A | 10 |  |
| 53. |  | 10 |  |
| 54. |  | 10 |  |
| 55. |  | 10 |  |
| 56. |  | 10 |  |
| 57. |  | 10 |  |
| 58. |  | 10 |  |
| 59. |  | 10 |  |
| 60. |  | 05 |  |
| 61. |  | 05 |  |
| 62. |  | 05 |  |
| 63. |  | 05 |  |
| 64. |  | 05 05 05 05 05 |  |
| 65. | Trainer Kit for Superposition Theorum | 10 |  |
| 66. | Trainer Kit for Maximum Power Transfer Theorum | 10 |  |
| 67. | Trainer Kit for Thevanin’s Theorum | 08 |  |
| 68. | Trainer Kit for Nortron Theoram | 02 |  |
| 69. | Single Phase Step Load (15 Amp, 230V) | 01 |  |
| 70. | Wattmeter (75, 300, 600V) | 02 |  |
| 71. | Air Blower | 03 |  |
| 72. | Soldering Iron | 02 |  |
| 73. | Soldering Iron – 65W | 05 |  |
| 74. | Soldering Iron Stand: 0-300V AC 40°C | 10 |  |
| 75. | Pluse Generator: 2 to 20MHz | 05 |  |
| 76. | Bread Board + 15V Power Supply: 0-15V DC | 05 |  |
| 77. | Frequency Meter (Read Type): 0-5Hz, 0-230/440V AC | 02 |  |
| 78. | L.C.R. Box | 02each |  |
| 79. | Transistor fault checking kit | 01 |  |
| 80. | OP. Amp. Functioning Kit: (adder, integ, diff, Inst amp.) | 01 |  |
| 81. | Soldering Iron Stand: 0-300V AC 40°C | 10 |  |
| 82. | Wire Strepper | 10 |  |
| 83. | Combination Plier | 05 |  |
| 84. | Side Cutter | 05 |  |
| 85. | Desoldering Wick Desoldering wick | 10 |  |
| 86. |  | 20 |  |
| 87. | Combination Plier 6” | 05 |  |
| 88. | Desoldering Pump | 05 |  |
| 89. | Pressure Gauge: 0-160Kg/CM², 4” ±1% Pressure Gauge: 0-10Kg/CM², 4” ±1% Pressure Gauge: 0-2Kg/CM², 4” ±1% Pressure Gauge: 0-1Kg/CM², 4” ±1% | 05 |  |
| 90. |  | 05 |  |
| 91. |  | 05 |  |
| 92. |  | 05 |  |
| 93. | RTD (Industrial) | 10 |  |
| 94. | Thermocouple ‘K’ Type | 05 |  |
| 95. | Thermocouple ‘J’ Type | 05 |  |
| 96. | Thermocouple ‘S’ Type | 02 |  |
| 97. | Manometer (Water Type) | 01 |  |
| 98. | Manometer (Mercury Type) | 01 |  |
| 99. | Decade Resistance Box (Variable): 10, 100, 500, 1000Ω | 01each |  |
| 100. | Variable Capacitance Box | 05 |  |
| 101. | R.T.D. Trainer Kit | 01 |  |
| 102. | Thermocouple Trainer Kit | 01 |  |
| 103. | LVDT Kit | 01 |  |
| 104. | Instrumentation Tutor: (thermocouple, Thermistor, Photo Electric and Magnetic) | 01 |  |
| 105. | Instrumentation Tutor: (Induction, Capacitance, Pizoelectric, LDR) | 01 |  |
| 106. | Pressure Transducer: (5X100DN) | 02 |  |
| 107. | Manometer Demonstration Kit | 01 |  |
| 108 | Clamp on meter (up to 1000A) | 04 |  |
| 109. | Digital MM | 05 |  |
| 110. | Drill Machine with hammering | 03 |  |
| 111. | Lux Meter | 02 |  |
| 112. | T/F two winding-230/115V, 1KVA | 02 |  |
| 113. | Cut Section of T/F (Core & Shell type) | 02 |  |
| 114. | Ratchet Set (gotiset) | 01 |  |
| 115. | Crimping Tool (a) Upto 25mm² (b) 0-400mm² | 01 01 |  |
| 116. | CT, 100/5,200/5,400/5,600/5 PT 11000/110V | 04 01 |  |
| 117. | Pipe wrench – 12”, 9” & 6” | 01each |  |
| 118. | Sliding wrench – 12”, 9” & 6” | 01each |  |
| 119. | Meggar : 500, 1000 & 2500V | 01each |  |
| 120. | Earth Tester | 02 |  |
| 121. | Insulator: (a) Pin type (b) Egg type Disc type Shackle type Lightening Arrestor | 03 03 03 03 03 |  |
| 122. | Over Head Line Model | 01 |  |
| 123. | Dielectric Strength of T/F oil Check Kit | 01 |  |
| 124. | Vacuum Cleaner | 01 |  |
| 125. | Allen Keys Set: mm Inch | 01 01 |  |