|  | sNq lONgovwl AiBXwNiZkI EvN pROÖoigkI sNÆQwn, lONgovwl, sNg{r, pMjwb - 148 106 (mwnv sNswDn mNZwlX ky ADIn समविश्वविद्यालय) Sant Longowal Institute of Engineering and Technology Longowal, Dist. Sangrur, Punjab – 148106 (Deemed University under MHRD) |  |
| --- | --- | --- |

Ref. No. PUR/48/15/______	___                                                         Dated: ___________

NOTICE INVITING QUOTATION

REGISTERED

M/s.

Subject:  Notice Inviting Quotation for procurement equipments for ME Deptt.

This institute intends to procure the Equipments for ME Deptt. as detailed below.  Interested Firms/Parties are requested to send the quotation to the office of undersigned in a sealed cover super scribed “Quotation for Equipment  for ME Deptt.” So as to reach on or before 26-02-2016.

| S. No. | Name of items with specifications | Qty. |
| --- | --- | --- |
| 1. | Single phase 3Kva UPS:- Technical Specification:- 1KVA 2KVA 3KVA 5KVA 6KVA 7.5KVA 10KVA Input Voltage Range 160V to 270V AC Frequency Range 46 to 54 Hz Power Factor > 0.99 Inverter / Output Voltage 230 V AC Single Phase ±1% Frequency 50 Hz ±1% Distortion ≤2% for 100% Linear load, ≤5% for 100% Non Linear load Waveform True Sine wave Overall Efficiency ≥90% Crest Factor 3:1 Overload Capacity 125% of rated load for 1min, 150% of rated load for 30 sec Short Circuit UPS output turn off and alarm Battery Model 12 V Sealed lead acid maintenance free Voltage 36 V DC 72 / 96 V DC 240 V DC Recharge Time 8-10 Hrs from fully discharged condition to 100 % charged condition DC Bus Ripple <1% Others Communication Port RS 232; SNMP (Optional) & Auto shutdown facility compatible in Linux/Windows NT/2000/XP/Vista User Friendly MIMIC UPS status, Battery level, Load level, Fault line Protection Over/Under voltage at I/P Short circuit & overload Lightning / Surge LED/LCD Display Utility, Inverter, Bypass, Battery %, load %, Frequency, UPS fault Audible Alarm Utility failure, Beep/4s; Battery low, Beep/1s; UPS fault, Continuous Alarm UPS Abnormal Continuous Beep and Red LED on Noise Level Ambient Temperature <40°C Humidity 10 % - 90 % (Non Condensing) Cold Start Facility Available Weight (Kg) 14 21 28 35 39 Dimensions (LxWxH) in mm 435x145x240 545x210x355 575x270x730. | 01 |
| lONgovwl, ijlw sNg}r - 148106 (pNjwb), Bwrq, dUrBwÀ sN:+91-1672-280057, 253115 PYks s: +91-1672-280057 LONGOWAL, DISTRICT: SANGRUR-148106 (PUNJAB), INDIA |
| 2. | Isolation transformer Technical Specification :- Capacity-3KVA, Capacity (KVA) 3–1000 KVA Related Standards IS 2026, IS 11171 Input Voltage and Output Voltage A) 1:1 B) 1:2 C) Customized,Efficiency @ 100% Load > 97.5% Regulation 2–4% from 0.8 to unity power factor,Impedance < 4%,Connection Delta / Star*,Vector Group DYn 11** for Delta / Star,Operating Load Power Factor 0.75 Lagging to 0.75 Leading DC Galvanic Isolation > 500 Mega Ohms,Dielectric Strength 2.5 KV, 50Hz for 1 Minute,Coupling Capacitance 0.1 Pico Farads,Line Leakage Current < 20 Micro Amps,Noise Attenuation 100 DB upto 10Khz,Operating Temperature 0 to 45° C,Insulation Class F,Degree Of Protection IP 31,Type Of Cooling Air Cooled / Oil Cooled,Metering LCD display as OPTIONAL | 01 |

Terms & Conditions are as under:

Note:     It may be noted that quotation received only through REGISTERED/SPEED POST shall be considered. The institute is located in remote area and it takes 5 to 7 days to reach the mail, therefore, quotation be dispatched well in time to avoid any sort of delay.

N.B.:

- Rate of Sales Tax/VAT/Service Tax, if extra must be mentioned clearly.

- Price must be quoted FOR, SLIET.

- Quotation received later than due date are liable to be rejected.

- Quotation addressed to the Director, SLIET must be sent to the Faculty I/c (Sore & Purchase), SLIET, Longowal, Distt. Sangrur – 148106, Punjab.

- We are not responsible for accidental opening of the cover if it is not properly super scribed and sealed.

- Duly signed Quotation must be submitted on letter head of the firm with all particular, any other format will not be acceptable.

- A certificate on the letterhead of the organization that the firm/company is not blacklisted by any Govt. organisation/Department.

- No correspondence regarding acceptance/rejection of a quotation will be entertained.

- Other terms and condition for submitting the quotation are given overleaf which must be read carefully before submitting the quotation.

Faculty In-charge

(Store & Purchase)

-3-

TERMS & CONDITIONS FOR QUOTATION

| DELIVERY | The rate quoted must be free delivery/F.O.R. Longowal after allowing the discount, if any. Where quoted extra ad-valorem rate payable should clearly be indicated. Supply should be made within the specified delivery period. |
| --- | --- |
| TERMS OF PAYMENT | Our normal term of payment is within 45 days after receipt of stores in good condition by means of cheque/draft/RTGS. |
| PERFORMANCE SECURITY | In case the quoted value is Rupees one lac and above, Performance Security @5% of order value in the shape of Acct. Payee Draft, FDR or BG valid for a period of sixty days beyond the date of completion of all contractual obligations of the supplier including warranty obligations, as per GFR-2005 rules, is also required. |
| EMD | In case the quoted value is Rs. One lac above, EMD@2% of the quoted value in the shape of DD valid for a period of 45 days beyond the final bid validity period is required to be submitted along with quotation. |
| TAXES | No sales tax concession against Form ‘C’ and ‘D’ is admissible to this Institute. |
| EXEMPTIONS | Excise and customs duties are exempted to the institute. The relevant exemption certificate will be issued to the successful bidder only if the excise duty/custom duty is exclusively mentioned in the Quotation. In case the offered items are to be imported, the rates should be quoted in foreign currency on FOB basis. Basic duty as applicable under notification No. 51/96 customs dated 23.07.1996 as applicable shall be borne by the institute. If the price quoted is in foreign currency then payment shall be made through letter of credit against submission of B.G. of Min. 25% value of supply order, if the order value is more than US$ 10,000 or through Telegraphic Transfer (TT) if the order value is less than US$ 10,000 though Nationalized banks. The bank charges outside India should be borne by the Beneficiary. Clearance at customs will be arranged by us but you will assist our clearance agent. In case of indigenous item the price must be quoted in Indian Rupees and 100% payment will be made only after successful installation, testing and commissioning of equipment. NO ADVANCE PAYMENT WILL BE MADE. |
| ENLISTMENT OF INDIAN AGENTS | In case an Indian Agent who desire to quote on behalf of their foreign manufacturer/principals, a copy of the registration certificate/letter issued by central purchase organization (DGS&D) as an Indian Agent of foreign principals under the compulsory enlistment scheme of the department of expenditure ministry of finance is also required as per rule 143 of GFR-2005. |
| DIRECTOR’S RIGHTS | Director, SLIET, reserves the rights of acceptance or rejection of any or all quotations. The discretion for increasing or decreasing of the quantities also rests with him. SLIET also does not bind itself to accept the lowest price. In case of any dispute, the decision of Director SLIET will be final & binding. |
| VALIDITY OF QUOTATIONS | Quotations must remain valid for period of at least 03 months. |
| SAMPLE/BRAND/ MAKE/WEIGHT | Sample, where asked for, will invariably be made available and sent along with the quotations. However, Brand/Make/Weight etc. must be mentioned clearly in the quotations. Technical literature/pamphlet should also be enclosed. |
| REJECTION | Quotation not confirming to the set procedure as above will be rejected. Conditional, telegraphic quotation shall be rejected out rightly. |
| DISCOUNT/REBATES | A special discount/rebate wherever admissible keeping in view that the supplies are being made for education purpose in respect of Public Institution of national importance may please be indicated. |
| GENERAL TERMS | SLIET shall not be held responsible for any postal delay in sending or late receipt of quotation. Quotation should be free from corrections & erasures. Other terms & Conditions will be applicable as per GFR-2005. Faculty In-charge (Store & Purchase) |